TECHNICAL SPECIFICATION

"Fire safety of buildings and structures

(translation and localization of EU norms)"

| 1 | Brief Description of the Situation | The currently enforced construction norms in the Republic of Armenia include the Construction Norms 21-01-2014 “Fire Safety of Buildings and Structures,” approved by Decree No. 78-N of the Minister of Urban Development of the Republic of Armenia dated March 17, 2014. The current norms have been mainly developed based on the relevant technical regulations, state standards, and codes adopted in the Russian Federation during 1980-2014. The currently applicable norms define the fire hazard classes and categories of construction materials and structures, levels of fire resistance, requirements for fire barriers, staircases and stairwells, evacuation and emergency exits and routes, firebreak distances between buildings and structures, and other related design conditions. According to Point 5.1.1 of the “Urban Development Committee” section in Annex No. 1, approved by Government Decree No. 1902-N of the Republic of Armenia dated November 18, 2021, the Urban Development Committee of the Republic of Armenia is authorized to perform technical translation and partial localization of urban development standards from EU member states. This mandate includes the translation and partial or full localization/adaptation of construction norms related to “Fire Safety of Buildings and Structures” currently effective in EU member states, as well as the development of new national norms that may be applied voluntarily (as alternatives) within the territory of the Republic of Armenia. |
| --- | --- | --- |
| 2 | Summary Description of the Development, Approximation/Localization/Harmonization Work on the EU Norm (Construction Norms of the Republic of Armenia) | The construction norms (hereinafter referred to as the Norms) must be developed in accordance with the legislation in force in the Republic of Armenia and with consideration and alignment of other interrelated regulatory and technical documents governing the sector. - At the preparatory stage, the following is envisaged: (Stage I) - Technical translation—full or partial—of the selected EU norm (based on the version agreed upon with the contracting authority, involving the selection of an EU member state and the relevant equivalent normative document effective therein). - At the implementation stage, the following is envisaged:(Stage II) - Approximation/substitution/harmonization of the translated document, including design and construction requirements The process of approximation/localization/harmonization of the EU norm shall include: - Obtaining and reviewing the texts of the applicable EU norm (via the EUR-Lex: EU law platform) and performing its technical translation; - Defining the scope of responsible experts for the approximation/localization/harmonization process; - Comparative analysis of the requirements, commentaries, calculations, and design parameters included in the EU norms; - Assessment of the applicability of the selected EU norm or part thereof to the local context; - Preparation of a compliance matrix comparing national legislation and EU norms (including requirements under the CEPA agreement), identifying existing inconsistencies or alignments, and recording the necessary changes or additions in the matrix; - Joint work between the authors of the EU norms (Eurocodes) and Armenian specialists (via online meetings, seminars, and working discussions); - Provision of transitional measures for the application of EU norms (Eurocodes) and the nationally developed complementary standards or annexes; - Study of the REMIT regulation of October 25, 2011, for the approximation/localization/harmonization of energy efficiency and energy saving norms; - Documentation and justification of the reasons for the approximation or non-approximation of EU norms; - Assessment and monitoring of the regulatory impact of the approximated/localized/harmonized norms. |
| 3 | Justification and Requirements for the Approximation/Localization/Harmonization of the Construction Norm | Justification Based on Government Decree No. 1902-N of the Republic of Armenia dated November 18, 2021 (point 5.1.2), Government Decree No. 580-N dated May 15, 2025, the requirements of Regulation No. 305/2011/EEC adopted by the Council of the European Union on March 9, 2011, the EU-Armenia Partnership and Cooperation Agreement, the World Trade Organization Agreement on Technical Barriers to Trade, the provisions of the EU-Armenia Comprehensive and Enhanced Partnership Agreement, and the challenges related to Armenia’s accession to the Eurasian Economic Union. Main normative legal acts related to the development of construction norms: Republic of Armenia - Land Code of the Republic of Armenia - Law of the Republic of Armenia “On Urban Development” - Law of the Republic of Armenia “On Fire Safety” - Law of the Republic of Armenia “On Environmental Impact Assessment and Expertise” - Law of the Republic of Armenia “On Normative Legal Acts” - Government Decree No. 526-N dated May 4, 2017, “Procedure for Organizing the Procurement Process” - Decree No. 128-N dated September 11, 2017, of the State Urban Development Committee of the Republic of Armenia, “Rules Defining the Structure and Content of Design Documents for Residential, Public, and Industrial Buildings and Structures” - Decree No. 04-N dated May 22, 2023, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 30-01-2023 “Urban Development. Planning and Development of Urban and Rural Settlements” - Decree No. 03-N dated January 15, 2024, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 22.01-2024 “Construction Climatology” - Decree No. 102-N dated December 28, 2020, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 20.04-2020 “Earthquake-Resistant Construction. Design Norms” - Decree No. 06-N dated February 1, 2024, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-04.01-2024 “Sanitary Protection Zones and Sanitary Classification of Industrial and Public Buildings and Structures” - Decree No. 95-N dated December 10, 2020, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03 “Public Buildings and Structures” - Decree No. 93-N dated March 31, 2014, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-01-2014 “Residential Buildings. Part I. Multi-Apartment Residential Buildings” - Decree No. 103-N dated April 9, 2014, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.01-2014 “General Education Facilities” - Decree No. 25-N dated October 3, 2022, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.04-2022 “Preschool Institution Buildings. Design Norms” - Decree No. 27-N dated November 7, 2022, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-02-2022 “Residential Buildings. Part II. Individual Residential Houses” - Decree No. 32-N dated December 30, 2024, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.09-2024 “Sports Facilities. Open-Type Sports Buildings and Structures. Design Norms” - Decree No. 09-N dated February 19, 2024, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.06-2024 “Sports Facilities. Indoor Buildings and Complexes” - Decree No. 12-N dated June 25, 2024, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.07-2024 “Healthcare Institutions. Buildings and Structures for Inpatient Medical Care Facilities” - Decree No. 11-N dated April 14, 2025, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-03.08-2025 “Healthcare Facilities. Primary Medical Care Buildings and Structures. Design Norms” - Decree No. 16-N dated March 3, 2004, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia IV-11.03.01-04 (MSN 3.02.01-2002) “Industrial Buildings” - Decree No. 15-N dated March 3, 2004, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia IV-11.03.02-04 (MSN 3.02.02-2002) “Warehouse Buildings” - Decree No. 91-N dated December 29, 2002, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia IV-11.02.02-02 “Bank Buildings” - Decree No. 07-N dated September 11, 2023, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-04.02-2023 “Greenhouses” - Decree No. 10-N dated October 13, 2023, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-04.03-2023 “Buildings and Structures for Animal Husbandry, Poultry Farming, and Game Farming. Design Norms” - Decree No. 14-N dated May 13, 2025, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-04.06-2025 “Agricultural Buildings and Structures” - Decree No. 17-N dated December 6, 2023, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 31-04.04-2023 “Cold Storage Buildings and Structures” - Decree No. 14-N dated December 4, 2023, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 42-01-2023 “Gas Distribution Systems” - Decree No. 32-N dated May 23, 2003, of the Minister of Urban Development of the Republic of Armenia approving Construction Norms of the Republic of Armenia III-9.02.02-03 “Master Plans of Industrial Enterprises” - Decree No. 20-N dated August 24, 2022, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 21-02-2022 “Design Norms for Oil and Petroleum Warehouses” - Decree No. 19-N dated August 17, 2022, of the Chairman of the Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 34-01-2022 “Underground Storage Facilities for Oil, Petroleum Products, and Liquefied Gas” - Decree No. 56-N dated April 13, 2017, of the Chairman of the State Urban Development Committee of the Republic of Armenia approving Construction Norms of the Republic of Armenia 22-03-2017 “Artificial and Natural Lighting” KEY EU LAWS / STANDARDS - Regulation 305/2011 (Construction Products Regulation) - EN 1991-1-2 (Eurocode 1 - Fire actions) - ΕΝ 1992/1993/1994-1-2 (Fire resistance: concrete, steel, composite) - EN 13501 (Fire classification) - EN 1366 (Fire resistance of installations) - EN 54 series (Fire detection and alarms) - and others... |
| 4 | Translation, Approximation/Localization/Harmonization of the EU Norm | The technical translation of the EU norm shall be carried out based on the content, technical terminology, provisions, and structure of the document in force in the selected EU Member State. The localization/approximation/harmonization of the EU norm is proposed to be implemented through the engagement of a technical translator and an organization or individuals with professional qualifications (it is also proposed to involve scientific, research-experimental, design, and public organizations operating within the territory of the Republic of Armenia, which have relevant experience and can assist in the professional interpretation, study, and analysis of the national norms in force in the Republic of Armenia). BASELINE DATA COLLECTION AND TRANSLATION - Collection of necessary baseline data by the Contractor according to the selected EU member state and the corresponding construction norm in force there - Technical translation of the corresponding EU norm - Submission of the translated document to the Client - Provision of comments and suggestions on the translated document from the Client to the Contractor WORKS ON LOCALIZATION/ADAPTATION/HARMONIZATION OF THE TRANSLATED DOCUMENT - The localization, adaptation, and harmonization of the translated document shall be organized and funded by the Contractor, involving specialized organizations, whether legal entities or individuals. - Within the framework of these works, the circulation of the localized document (hereinafter referred to as the PROJECT) must follow the procedure described below. SUBMISSION OF THE PROJECT’S FIRST DRAFT TO THE CLIENT - The Client shall circulate the first draft of the Project to the relevant government authorities and specialized organizations. - The Client shall compile the comments and suggestions received from the interested authorities and specialized organizations. REVISION OF THE PROJECT’S FIRST DRAFT The Client provides the Contractor with the comments and suggestions received from the interested authorities regarding the first draft of the Project. Based on the proposals and remarks submitted by the Client from the interested authorities, the Contractor revises the Project as necessary and resubmits it to the Client along with a summary report indicating the acceptance or rejection of the proposals and comments. FINAL REVISION OF THE PROJECT The Client publishes the revised Project (second draft) on the official website of the Urban Development Committee of the Republic of Armenia (www.minurban.am) and the unified legal acts draft publication platform (www.e-draft.am) for the purpose of public discussion. The Client collects the proposals and comments received from interested authorities regarding the second draft of the Project and submits them again to the Contractor. Based on the proposals and comments submitted by the interested authorities, the Contractor carries out the final revision of the Project as necessary and submits it to the Client. DISCUSSION OF THE DRAFT In the event of disagreements regarding the draft, the Client shall organize an additional discussion with the aim of resolving such disagreements and making the appropriate final decision on the adoption of the document. The results of this discussion shall be summarized by the Contractor. The deadline for submission of the draft shall be 550 calendar days after the contract enters into force, of which 40 days are allocated by the Client for circulation of the draft among the relevant authorities. The basis for complete financing the draft shall be the conclusion of the state-legal expertise conducted by the Ministry of Justice of the Republic of Armenia. Payments for the work performed will be made in stages: Stage I (translation) - up to 30%, Stage II (I edition of the document) - up to 55%, Stage III - II edition and the conclusion of the Ministry of Justice of the Republic of Armenia - up to 15%, after the Client signs the handover-acceptance protocols. |
| 5 | Other Requirements and Conditions | SUBMISSION OF THE FINAL REVISED DRAFT PACKAGE TO THE CLIENT - The final revised project package is submitted to the Client in documentary form — one hard copy and one electronic copy — in Armenian and English. The Client shall compile the package according to the following: - Justification for the preparation of the draft and the necessity of its approval based on the results and opinions from the relevant stakeholders’ discussions. - A summary sheet of opinions prepared on the basis of public discussions, consultations with interested state bodies and specialized organizations, accompanying and response letters (copies of proposals and comments), and the versions of the draft in its first and final editions. - Records of working discussions (including remote meetings) and consultations organized for the draft review, if available. PRESENTATION OF REPORTING ON WORK EXECUTION - Ongoing reports on the progress and results of the work shall be submitted to the Urban Development Committee of the Republic of Armenia at least every 30 calendar days. WORKFORCE REQUIREMENTS For the development of these norms, the following are required: - A team of at least three employees from a design, research, educational, manufacturing, or public organization (including associations, companies, individual entrepreneurs, foundations), or a creative collective. - Professional qualifications with higher education, including: - Engineers in construction, architects, or specialists holding scientific degrees or titles in urban development, engaged in teaching, scientific-pedagogical, or expert activities; and/or professional staff involved in urban development programs for new technologies or included in such programs. - Professional experience in the relevant field for Urban planning in EU member states— at least three years of working experience in the development, localization, approximation, and harmonization of EU Norms and Eurocodes. - The organization's experience in the development, localization, approximation, and harmonization of EU norms in the field of urban development, as well as Eurocodes in EU member states, which were carried out under signed contracts; the presence of at least 1 contract is mandatory. |